## Slide 1: MRI System control
ImageView
TNMR
pyMRI
pyPico
Temperature control
Study:
tntFiles
Run log
PhantomViewer
MatLab
TechMag Console

## Slide 2: Pulse sequence equations
Parameter | Equation | Python | Comments
Field of View (m) Presentation units mm |  | self.FoVro=2*self.TNMR.SW/(self.Gammaf*np.absolute(self.Gr)) | =bandwidth (Hz)
Gradient values |  | self.Gs=self.TNMR.GsDAC/100*self.GsCal*self.Asmax | 
Slice positions |  | self.slicePositions=self.sliceFrequencies/(self.Gammaf*self.Gslice) | =slice frequency array
Slice thickness |  |  | =slice frequency width, FWHM of FFT of RFwaveform
Gr readout gradient |  |  | 
Gp phase gradient |  |  | 
Slice select gradient |  |  | 
slice frequency width |  |  | 
TE echotime |  |  | 
TR repetition time |  |  | 
TI inversion time |  |  | 
Parameter | Equation | Python | Comments
Field of View (m) Presentation units mm |  | self.FoVro=2*self.TNMR.SW/(self.Gammaf*np.absolute(self.Gr)) | 
Gradient values |  | self.Gs=self.TNMR.GsDAC/100*self.GsCal*self.Asmax | 
Slice positions |  | self.slicePositions=self.sliceFrequencies/(self.Gammaf*self.Gslice) | 
Slice thickness |  |  | 
Gr readout gradient |  |  | 
Gp phase gradient |  |  | 
Slice select gradient |  |  | 
slice frequency width |  |  | 
TE echotime |  |  | 
TR repetition time |  |  | 
TI inversion time |  |  | 

## Slide 3: Conventions
PS tables:
gRise=0 to 100 rampup
gFall=100 to 0 ramp down
rfShape
rfPhase
GpAmpTbl=phase gradient amplitudes
sliceFrequencies: slice location frequecies
sliceF0=sets slice frequency back to 0
Sequence parameters:
Gcrush
Gp
Gr
Grr
Gs
Gsr
rfAttn90
rfAttn180
tex1
tex2
Ti
Tpe=phase encode time
tramp=ramp time on all gradients usually 0.5ms
Tspoil+ gradient spoil time at end of sequence ~1ms
Te0
Ti0
tr0
Dimensions:
SEMS, SEMS-IR : 1=slice, 2=average, 3=phase, 4=TI

## Slide 4: Refocusing pulses